## Sheet1
4
640x480 | Measured | Error | Comment
Nominal | 3.95 | -1.25% | Based on measured FoV
3DF Zephyr | 3.93 | -1.75% | Need to see if this was luck, but the more images the better
calibdb | 4.31 | 7.75% | This is wrong because the cropping is assumed from 1280
ros2 | 3.93 | -1.75% | Pretty good
openCV | 3.84 | -4% | This is still a nightmare to get close to accurate
1280x720 | Measured | Error | Comment
Nominal | 3.92 | -2% | Based on measured FoV - looks like I can do a lot better
3DF Zephyr | 3.99 | -0.25% | 3DF Zephyr starting to look like the way to go
Calibdb | 3.92 | -2% | Better this time because calibdb used this resolution (I think)
ros2 | 3.78 | -5.5% | Not sure why this isn't better